## JSA
Job Safety Analysis |  |  |  | Print: landscape, one page
One JSA per task. Fill in the header, tick the PPE and permits, list the steps in order with their hazards and controls, and have the crew sign before work starts.
Amber cells are yours to fill in. Everything else calculates.
Job / task |  |  | JSA no.
Location |  |  | Date
Project |  |  | Crew size
Prepared by |  |  | Reviewed by
REQUIRED PPE |  |  | PERMITS AND PRE-TASK CHECKS
☐ Hard hat |  | ☐ Safety glasses | ☐ Hot work permit | ☐ Confined space
☐ Gloves |  | ☐ Hi-vis vest | ☐ Lockout / tagout | ☐ Crane lift plan
☐ Steel-toe boots |  | ☐ Hearing protection | ☐ Utility locate / overhead lines | ☐ Weather checked
☐ Fall-arrest harness |  | ☐ Face shield | ☐ Rescue plan | ☐ Emergency numbers posted
☐ Respirator
Change ☐ to ☒ to tick a box (copy it from this note). Add rows to the table below if the task has more steps; keep them in the order the work is done.
STEP | TASK STEP — WHAT IS DONE, IN ORDER | POTENTIAL HAZARDS | CONTROLS / SAFE PRACTICES | RESPONSIBLE | DONE ✓
1
2
3
4
5
6
7
8
9
10
CREW SIGN-OFF — I TOOK PART IN THIS JSA, UNDERSTAND THE HAZARDS AND CONTROLS, AND WILL STOP WORK IF CONDITIONS CHANGE
# | CREW MEMBER (PRINT) | SIGNATURE | COMPANY / TRADE | DATE
1
2
3
4
5
6
7
8
9
10
PREPARED BY (COMPETENT PERSON) |  |  | REVIEWED BY (SUPERVISOR / SAFETY)
SIGNATURE |  |  | SIGNATURE
PRINTED NAME / TITLE |  |  | PRINTED NAME / TITLE
DATE |  |  | DATE
Free template by BuildWorkPro — buildworkpro.com/templates. General-purpose form, not legal or safety-engineering advice; it supports and does not replace the programs your jurisdiction and contract require.

## Hazard Library
Common construction hazards and controls
A starting point for the hazards column — not a substitute for looking at the actual task, site and crew. Copy the wording that fits and make it specific.
HAZARD CATEGORY | WHERE IT SHOWS UP ON MECHANICAL / PLUMBING / ELECTRICAL WORK | TYPICAL CONTROLS (MOST EFFECTIVE FIRST)
Falls from height | Roof edges, leading edges, floor and curb openings, ladders, scaffolds, lifts | Guardrails or personal fall arrest tied to a rated anchor; covers marked HOLE; ladders secured with 3-point contact; lift harness tied to the basket
Struck-by | Suspended loads, crane swing, vehicles, dropped tools, material handling | Exclusion zones and spotters; tag lines; tool lanyards; hi-vis; never under a load
Caught-in / pinch | Rigging under tension, rotating equipment, trench walls, setting equipment on curbs | Hands clear when tensioning; guards in place; trench protective systems; guide loads with tag lines
Electrical | Overhead lines, energized panels, temporary power, cords in water | Line clearance verified (20 ft rule); lockout / tagout; GFCI on all temporary power; qualified persons only on live work
Silica and dust | Core drilling, cutting block or concrete, demolition | Wet methods or on-tool vacuum; respirator per the exposure control plan; barricade and post
Hot work | Brazing, soldering, welding, grinding near combustibles | Hot work permit; fire watch 30 minutes after; extinguisher within reach; combustibles moved 35 ft or shielded
Confined space | Mechanical pits, tanks, crawl spaces, ducts, vaults | Permit and atmospheric testing; attendant and rescue plan; ventilation; no entry without the permit
Heat and cold stress | Roof work in summer, enclosed spaces, winter exposure | Water, rest and shade schedule; acclimatize new crew; buddy checks; adjust hours
Noise | Cutting, hammer drills, generators, equipment rooms | Hearing protection above 85 dBA; schedule loud work; post the area
Manual handling | Pipe, duct, equipment, fixtures, gas cylinders | Mechanical aids and team lifts; pre-plan the path; cylinders capped, secured and upright
Chemical exposure | Solvents, adhesives, refrigerants, sealants, cleaners | SDS on site; gloves and eye protection per the SDS; ventilation; refrigerant recovery by certified technicians
Housekeeping / slips and trips | Cords, scrap, mats, wet floors, stored material in walkways | Clean as you go; cords overhead or covered; lighting; designated storage
Mobile equipment | Forklifts, lifts, cranes, trucks backing up | Certified operators; spotters; backup alarms; pedestrians separated
Pressure and stored energy | Hydrostatic and pneumatic tests, springs, compressed gas | Test procedure and pressure limits posted; keep clear of joints during tests; bleed before opening
Hierarchy of controls: eliminate the hazard, substitute a safer method, engineer it out (guardrails, ventilation), then administrative controls (permits, training, rotation) and finally PPE. PPE is the last line, not the first.
Free template by BuildWorkPro — buildworkpro.com/templates. Reference list only; your written safety program, the SDS and the manufacturer’s instructions govern.

## How to Use
How to use the Job Safety Analysis Template
1. | Fill in the task, location, date, project and who is preparing and reviewing the JSA. One JSA per task — a crane pick, a hot-work job, a confined-space entry — not one per project.
2. | Tick the PPE and the permits or pre-task checks the work needs. If a permit is required and not in hand, the work does not start.
3. | Break the task into steps in the order they happen. Six to ten steps is normal; if you have twenty, the task is really two tasks.
4. | For each step write what can hurt someone (the hazard) and how it is eliminated or reduced (the control). Use the Hazard Library sheet for wording, then make it specific to this site. The totals row flags any step without a control.
5. | Name who is responsible for each control, review the JSA with the crew at the start of the shift, and have everyone sign. Revise it the moment conditions change — new crew, weather, a different lift path.
6. | Print landscape (fits one page) and keep the signed copy with the daily report for that day. The GC’s safety officer and your insurer will ask for it after an incident.
TIPS FROM THE FIELD
• | Write hazards as what happens to a person — “fall from the roof edge”, not “roof”. Controls must answer the hazard: a hard hat does nothing for a fall.
• | A JSA that is filled out in the truck and never read to the crew is paperwork. A three-minute review at the task location is the part that prevents injuries.
• | Pair it with a toolbox talk sign-in when the topic is broader than one task — heat, ladders, housekeeping.
BuildWorkPro site logs carry a Safety tag, so incidents, near misses and safety meetings are logged with the day’s work, with photos, and can be filtered out in seconds when the GC or your insurer asks.
https://buildworkpro.com/features/site-logs/
Free template by BuildWorkPro — https://buildworkpro.com/templates/. Free to use and share for your own business. Not legal, accounting or engineering advice.